## Monthly test
Hotel generator test log
Generator: ________ Installed: ________ Nameplate kW: ________ 30% of nameplate kW: ________
Fuel: ________ Normal operating temperature: ________ Rules that apply (ask your fire marshal): ________
One line per monthly test under load. Warm-up and cool-down do not count toward the minutes under load.
Date | Hour meter start | Hour meter stop | Minutes under load | Load (kW) | Load (% of nameplate) | Oil pressure | Operating temp | Exhaust temp | Transfer switch used | Transfer time (s) | Cool-down (min) | Problems and action taken, parts replaced | Initials
From https://turndownhq.com/guides/hotel-generator-maintenance-checklist/ . Free to copy and use at your property.

## Weekly inspection
Hotel generator test log
One line per weekly inspection. Tick each item or write what you found.
Date | Fuel levels, piping, vents | Oil level | Coolant, belts, hoses | Exhaust trap, leaks | Battery and charger | Wiring, breakers, fuses | No debris, guards on, no unusual noise or leaks | Room clear and locked | Hour meter | Notes | Initials
From https://turndownhq.com/guides/hotel-generator-maintenance-checklist/ . Free to copy and use at your property.

## Transfer switch
Hotel generator test log
Operate each automatic transfer switch monthly: normal to alternate and back. Only trained people with the right protective equipment.
Date | Transfer switch | Operated normal to alternate and back | Transfer time (s) | No overheating or worn contacts | No unusual sounds | Clean, covers tight, doors closed | Notes | Initials
From https://turndownhq.com/guides/hotel-generator-maintenance-checklist/ . Free to copy and use at your property.