## AC log
Hotel PTAC and split AC maintenance log
One line per visit. Tick what was done and initial it.
Record the supply air temperature on quarterly and deep clean visits. Your unit's manual comes first.
Room | Unit tag | Type (PTAC or split) | Date | Filter cleaned | Coil checked or cleaned | Drain or base pan clear | Sleeve or drain line cleaned | Supply air temp (F) | Notes | Initials
214 | AC-214 | PTAC | 2026-11-03 | Washed | Checked | Clear |  | 55 | Example line. Remote batteries replaced. | VH
From https://turndownhq.com/guides/ptac-maintenance-checklist/ . Free to copy and use at your property.

## Schedule
Hotel PTAC and split AC maintenance log
The routine from the checklist. Intervals for PTACs come from the GE Zoneline, Friedrich and Amana PTAC manuals.
How often | Task | Applies to
Every month | Switch off. Remove, vacuum and wash the filters in warm water with mild detergent. Dry fully and refit. | PTAC and split
Every month | Wipe the front cover and discharge grille with a damp cloth. | PTAC and split
Every month | Run 5 minutes and check the airflow is strong and even. | PTAC and split
Every 3 months | Fresh air filter cleaned or replaced (models that have one). | PTAC
Every 3 months | Run cooling 10 minutes and record the supply air temperature. Compare with the last reading. | PTAC and split
Every 3 months | Listen for noise. Check remote or thermostat. Look for water on the sill, wall or carpet. Check for musty smells. | PTAC and split
Every 3 months | Check curtains and furniture do not block the air inlet or outlet. Check the outdoor grille or unit is clear. | PTAC and split
Once or twice a year | Power off. Pull the chassis. Clean indoor and outdoor coils and the base pan with a soft brush, compressed air or vacuum. No caustic coil cleaner. | PTAC
Once or twice a year | Clean the inside of the wall sleeve and drain system with an antibacterial and antifungal cleaner, rinse, and check the drain outlets. Check the sealant. | PTAC
Once or twice a year | Clean the indoor coil and blower wheel. Flush the condensate drain line. Clean the drain tray. Clear and clean the outdoor unit. | Split
When needed | Refrigerant work by a certified technician only. Electrical faults and units with repeat faults to a licensed contractor. | PTAC and split
From https://turndownhq.com/guides/ptac-maintenance-checklist/ . Free to copy and use at your property.